Table 1: High Performance Liquid Chromatography elution gradient used in fractionation and detection of ergosterol

| Time Minutes | Solvent A Water % | Solvent B Methanol % | Flow Rate ml per minute |
| --- | --- | --- | --- |
| 0 | 40 | 60 | 1.5 |
| 10 | 0 | 100 | 1.5 |
| 16.5 | 0 | 100 | 1.5 |
| 17 | 40 | 60 | 1.5 |
| 19 | 40 | 60 | 1.5 |

Figure 1: Calibration curve of ergosterol standard

Table 2: HPLC results for ergosterol standard

| Ergosterol concentration (µg/mL) | HPLC RT* (minutes) | HPLC peak area | HPLC Peak height |
| --- | --- | --- | --- |
| 1000 | 13.032 | 29694650 | 2285723 |
| 800 | 13.026 | 27051242 | 2197821 |
| 500 | 13.026 | 16089992 | 1496168 |
| 300 | 13.016 | 10758018 | 975950 |
| 100 | 13.001 | 2958753 | 258676 |
| 50 | 13.005 | 1312314 | 115258 |
| 40 | 12.998 | 1221806 | 107711 |
| 25 | 12.994 | 626850 | 55205 |
| 10 | 12.991 | 269223 | 23596 |

*RT = retention time

Table 3: Ergosterol content of fungal and bacterial isolates determined by HPLC

| Sample no. | Isolate | HPLC result | HPLC RT (minutes) | Ergosterol conc. (µg/ml) | Ergosterol content in mycelia* (µg/mg) |
| --- | --- | --- | --- | --- | --- |
| 1-Af | Aspergillus fumigatus | positive | 13.003 | 359.59 | 10.7877 |
| 2-An | Aspergillus niger | positive | 12.969 | 153.89 | 4.6167 |
| 3-Ca | Candida albicans | positive | 12.998 | 209.58 | 6.2874 |
| 4-Ct | Candida tropicalis | positive | 12.975 | 761.25 | 22.8375 |
| 5-Crg | Cryptococcus gattii | positive | 12.980 | 419.86 | 12.5958 |
| 6-Crn | Cryptococcus neoformans | positive | 13.007 | 235.99 | 7.0797 |
| 7-Fs | Fusarium solani | positive | 13.009 | 313.36 | 9.4008 |
| 8-Mu | Mucor | positive | 13.016 | 360.72 | 10.8216 |
| 9-Pe | Penicillium | positive | 13.032 | 379.21 | 11.3763 |
| 10-Rh | Rhizopus | positive | 13.009 | 446.53 | 13.3959 |
| 11-Bs | Bacillus subtilis | Negative | - | 0 | - |
| 12-Ec | Escherichia coli | Negative | - | 0 | - |
| 13-Pse | Pseudomonas aeruginosa | Negative | - | 0 | - |
| 14-Ste | Staphylococcus aureus | Negative | - | 0 | - |

*Ergosterol concentration calculated per mg dry mycelial weight

Figure 2: Chromatograms of ergosterol standard at varying concentrations

| Af | An |
| --- | --- |
| Ca | Ct |
| Crg | Crn |
| Fs | Mu |
| Pe | Rh |

Figure 3: Chromatograms of ergosterol in pathogenic fungal isolates studied